## Slide 1: Hayes Marsh Dam Project Advisor: Tony Puntin, PE Project Sponsor: Corey Clark, PE Dylan Babonis, Jonathan Collette, Noah Greene, Seamus Quinn, Deirdre Rafferty Department of Civil Engineering, University of New Hampshire, Durham, NH 03824
Hayes Marsh Dam is an earthen embankment dam located in Bear Brook Park in Allenstown, NH. It was constructed in 1967 to impound Hayes Marsh and create a Waterfowl Management Area operated by New Hampshire Fish and Game. The dam carries hiking and cycling trails over the outlet and spillway.
Existing Conditions
Existing conditions
  Area: 1.33 square miles
  100-year rainfall: 7.27”
  Freeboard: 0.47’
Proposed Replace In Kind
  Outlets lowered 1’
  Velocity over spillway: 1.80 fps
Proposed Removal
  Velocity through channel: 5.28 fps
Existing Site Conditions
Alternative B Replace In Kind
  Drop Inlet Repair
  Pipe Refurbishment
  Spillway Reinforcement
Alternative C Removal
  Removal of inlet structure
  Removal of pipe
  Cut flow channel in embankment
Introduction
Remediation Options
Preferred Alternatives
Conclusions
Alternative A No Action: continue to maintain inadequate existing dam at risk of failure
Alternative B Replace In Kind: reconstruct dam to replace inadequate elements
Alternative C Removal: remove dam to create riverine environment for Catamount Brook
Alternative D Weir: higher flow capacity
Alternative E Low Head Dam: designed to meet NHDES non-menace dam
Remediation Options
Drop Inlet Settlement
Hydrology and Hydraulics
Regular overtopping of dam in wet seasons
Beaver debris clogging drop inlet often
Uneven sinking of drop inlet, maximum settlement of 4”
One of two spillways called for in plans constructed, elevation too high to provide adequate overflow
Benefits of Removal
Increased Flow for Replace In Kind
Peak elevation of 98.95’, providing over one foot of freeboard. Primary (drop inlet) outflow is 110 cfs and the secondary (spillway) outflow is 46.47 cfs.
Removal Reference
Replace In Kind
Offers a lower initial cost to owner. Elements may be installed individually when best construction conditions exist. Repairs may not eliminate need for periodic beaver maintenance.
Removal
Offers a more expensive option in the short term with long term cost and environmental benefits. Work must be conducted during low rainfall seasons in the summer. Temporary logging access may be required for future operation.
Overtopping
Trail Side View
Replace In Kind Concept
Spillway Side View
Hayes Marsh
4” Maximum
Outlet
Inlet
Minimum
Hayes Marsh
Inlet
Outlet
Click to add text