## Slide 1: Drinking Water Emergency Planning and Response in New Hampshire Megan Cramton, Sara Berg Department of Civil & Environmental Engineering, University of New Hampshire, Durham, NH 03824
A total of eight people were interviewed. The average population served by the drinking water treatment plants represented was 41,233.
Decision making is an integral piece of planning and response to drinking water emergencies. The goal of this study was to understand the different viewpoints and decisions of stakeholders regarding emergency planning and response. In this study, drinking water operators, state agency employees, and emergency committee members were interviewed in order to attempt to comprehend the process that each group takes when making decisions. The end goal of the NSF study is to create a decision theoretic life cycle analysis framework and serious gaming workshop to improve the decision making capability of the New Hampshire drinking water industry in the face of emergencies.
Methodology
Results
An updated Emergency Response Plan is needed for a quick response
Redundancy, interconnections between systems, and planning are the best countermeasures
There are similar current and future concerns within the industry; a future concern is cybersecurity
There are many stakeholders to communicate with during an emergency, but qualified available personnel is not an issue
Introduction
Conclusions
Acknowledgements
Organization Map
Available upon request.
References
Role of Interviewees
Chief Operator
We would like to thank Dr. Weiwei Mo, Jingyan Huang, and Taler Bixler for all their help on this project.
Chart: 
| Drinking Water Operator or Manager | Emergency Committee Member | State Agency Employee
 | 4 | 1 | 3
 | Chronic Contamination PFAS/PFOA Algal Blooms, Cyanotoxins Total Organic Carbon (TOC) Lead, Manganese, Arsenic | Acute Contamination E. Coli Tanker truck spill Backflow Damaged pipe | Cybersecurity | Malevolent Acts | Drought | Climate Change & Severe Weather Power outages Flooding Change in source water quality | Water Main Break
Historical Frequency | Often (same contamination) | Every 10 to 15 years | Has not occurred in NH | Has not occurred in NH | Most summers | Increasingly often | Weekly to every couple years
Precautions& Planning Measures | Interconnections between municipal systems Diversify water sources Have a groundwater and surface water source | Routine Sampling Hazard inventory, material safety data sheets Backflow prevention devices GIS maps | AWWA Cybersecurity Guidance and Assessment Tool Full-time IT/Security Staff Keep SCADA and all process controls off-line NHDES Grant money | Fence in wellheads Security cameras | Leak detection and repair | Move pumps out of floodplains Increase chemistry and experimental design training | Replace old pipes On-call contractor Separate distribution and treatment crews GIS with valve locations
Emergency Response | Granular activated carbon filtration Dissolved air flotation | Sampling, boil orders, and flushing Booming and damming | Remove compromised machine from network Operate system mechanically | Isolate impacted area and switch source | Use restrictions | Generator power Jar test source water | Monitor for pressure drop Flush system
Operators
State Police
Local Fire Department
Emergency Response Plans
Notification of interruptions or impairments
Technical consultation
Contractors
Analyzed Interview Data
Conducted 8 Stakeholder Interviews
Gathered Stakeholder Contact Information
Obtained UNH IRB Approval
Developed 3 Interview Protocols
Drinking Water Operators
State Agencies
Emergency Committees
IRB #8428
NH Serving Populations ≥ 3,000 User
30-Minute Informal Zoom Interview
Quantitative and Qualitative Content Analysis
Stakeholder Mapping
Chart: Types of Emergencies Respondents are Concerned About and Prioritize During Planning
| Chronic Contamination | Acute Contamination | Cybersecurity | Malevolent Acts | Drought | Climate Change & Severe Weather | Water Main Break
Drinking Water Operator | 2 | 4 | 2 | 2 | 3 | 2 | 0 | 0 | 1 | 1 | 2 | 2 | 4 | 3
Emergency Committee Member | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0
State Agency Employees | 2 | 2 | 3 | 3 | 3 | 3 | 3 | 1 | 2 | 2 | 3 | 3 | 1 | 0
Concerned about an emergency
Prioritized during emergency planning
NH Emergency Operations Center
Owner
Certified Lab
City Manager
Drinking Water Users
Notification of spill
Site management
Booming & Damming
Hazardous material identification
Operator training
Major Disasters
Financial decisions
Testing results
24/7 Emergency response
Boil orders